REGISTERED MAIL

F . 113/AD(I&P)/25/SMR/EPA/

GOVERNMENT OF THE PUNJAB

ENVIRONMENTAL PROTECTION AGENCY

NATIONAL HOCKEY STADIUM FEROZEPUR ROAD, LAHORE

Dated:     /   /2025

To,

Mr. Ashraf Naz (Secretary)

M/S The Cooperative Engineering Town Society,

Defence Road, District Lahore

Subject:	ENVIRONMENTAL PROTECTION ORDER (EPO) UNDER SECTION-16 OF THE PUNJAB ENVIRONMENTAL PROTECTION ACT-1997.

WHEREAS, Environmental Protection Agency, Government of the Punjab strive for prevention and control of pollution, improvement of environment and promotion of sustainable development to save public health mandated under accordance with the provisions of Punjab Environmental Protection Act, 1997.

2.		AND WHEREAS, damaging or polluting physical environment, inside or outside, private or public premises, in a manner causing damage to the public health, safety, welfare, life and property is an offence under the relevant provisions of the Act ibid. (amended 2012).

3.	            AND WHEREAS, Site Inspection Report vide No. 899/DD/EPA/LHR Dated:11/8/2025 by the Deputy Director (Environment), Lahore and  Site Monitoring Report of M/S The Cooperative Engineering Town Society, Defence Road, Lahore received from Deputy Director (Lab), EPA, Lahore vide No. DD(LAB)/EPA/LHR/FRO(LW)626/2025 /322, dated 03-06-2025 confirmed that the emissions and discharge of unit is beyond the permissible limits of Punjab Environmental Quality Standards (PEQS) which is in violation of Section 11 of the Punjab Environmental Protection Act, 1997 by the following means:

- The Analysis report of wastewater sample of the unit conducted by Deputy Director (Lab.), EPA, Lahore indicates that the parameters i.e. COD, BOD and Sulfide exceeded the Punjab Environmental Quality Standards (PEQS) in violation of Section-11 of the Punjab Environmental Protection Act, 1997. The results are reproduced as under:

| Sr. No. | Parameters | PEQS Limits | Result | Remarks |
| --- | --- | --- | --- | --- |
|  | Chemical Oxygen Demand (COD) | 150mg/L | 212 mg/L | Exceeding PEQs |
|  | Biochemical Oxygen Demand (BOD₅) | 80 mg/L | 93 mg/L | Exceeding PEQs |
|  | Sulphide | 1 mg/L | 3.2 mg/L | Exceeding PEQs |

- Site Inspection Report also indicates that untreated waste water is being discharged into Hudiara drain without any treatment.

- Your unit/Society has also been constructed and operating in violation of section 12 of the PEPA, 1997

4.		AND WHEREAS, in light of the above referred violations, your unit was found violating Section-11 & 12 of the Punjab Environmental Protection Act, 1997, as well as the Punjab Environmental Quality Standards (PEQS), which is an offence punishable under the provisions of the Act ibid. Hence, Section-16 of the Act ibid was invoked, and opportunity of personal hearing was offered to you on 20.06.2025 vide letter No. F.113/AD(I&P)/25/SMR/EPA/133, Dated:11-06-2025. No one appeared on 1st Hearing. Subsequently, 2nd Notice of hearing was served to you vide No. F.113/AD(I&P)/25/SMR/EPA/229 Dated:17.07.2025 and hearing date was fixed for 29th July, 2025. No one appeared on 2nd hearing date while a letter received stated that the matter has been discussed with society President and Society desired to comply with the guidelines of EPA. Henceforth, a 3rd Hearing Notice was issued vide No. F.113/AD(I&P)/25/SMR/EPA/302 Dated:11/08/2025. Mr. Adnan Javed (authorized representative) appeared on prescribed date (15.08.2025) and submitted reply stating that, working on treatment plant is being carried out by your office.

5. 		NOW THEREFORE, the Director General, EPA Punjab, in exercise of powers conferred under Section 16 of the Act ibid, has decided to pass an Environmental Protection Order (EPO), directing

you to comply with following directions within 100 Days period.

- Install an efficient Wastewater Treatment Facility to effectively treat effluents of your unit in conformity with Punjab Environmental Quality Standards (PEQs) prior to its final disposal as per following timeline:

| Sr. No. | Description of steps/measures | Timeline |  |
| --- | --- | --- | --- |
| 1 | Planning and feasibility study for installation of wastewater treatment plant (WWTP) | 30 days (1st month) | 100 days (3 months & 10 days) |
| 2 | Detailed WWTP Design and Layouts |  |  |
| 3 | Completion of Civil Works | 60 days (2nd & 3rd month) |  |
| 4 | Installation of Machinery |  |  |
| 5 | Trial Run of WWTP | 10 days |  |
| 6 | Complete operation of WWTP to ensure compliance with PEQS |  |  |

- You have also violated the mandatory provision laid down under Section-12 of the Act which necessitated to be adjudicated upon by the learned Punjab Environmental Tribunal.   		OTHERWISE

Stop the pollution generating activities of your unit.

6.		In case of failure to comply with this Environmental Protection Order (EPO), the same shall be implemented under Section 6(1) (a) and (t) read with Section 16(2) of the Act ibid through coercive measures in the best interest of environment and public health, besides proceeded under Section 17 read with Section 21(3)(a) of the Punjab Environmental Protection Act 1997.

(Mrs. Amen Hanif)

Deputy Director (RC)

for Director General

CC

- The Deputy Director (Environment), Lahore is requested to deliver this EPO through special messenger to the addressee / respondent in person and furnish its Service Report within 05 days positively. Further, furnish the Compliance Status Report of EPO within a week upon expiry of stipulated mitigation period.

- The Deputy Director (Lab.), EPA, LHR- with request to resample and submit Lab Analysis Report of the Subject unit upon expiry of mitigation period of EPO as an evident of Compliance Status Report of this EPO.

- PA to the DG, EPA, Punjab, Lahore.

| Environmental Protection Order (EPO) RECEIPT |  |
| --- | --- |
| NOTICE DELIVERED BY: (REPRESENTATIVE OF EPA) (Name, Designation, Phones Signature & Date) | NOTICE RECEIVED BY: (ADDRESSEE) (Name, Designation, CNIC, Phones Signature & Date) |
| (Name of Inspector) Inspector Environment District Cell # |  |