|  | F-No.34/AD/EPA/PN/KSR/25 GOVERNMENT OF THE PUNJAB ENVIRONMENTAL PROTECTION AGENCY NATIONAL HOCKEY STADIUM FEROZEPUR ROAD, LAHORE Dated: / 09 /2025 |  |
| --- | --- | --- |

To,

Akhtar Ali Chaudhry (Director),

M/S Siara Textile Mills (Pvt.) Limited,

2-Km, Warberton Road, Ferozewatwan

District Sheikhupura.

Subject:	ENVIRONMENTAL PROTECTION ORDER (EPO) UNDER SECTION-16 OF THE PUNJAB ENVIRONMENTAL PROTECTION ACT-1997.

WHEREAS, Environmental Protection Agency, Government of the Punjab strive for prevention and control of pollution, improvement of environment and promotion of sustainable development to save public health mandated under the provisions of Punjab Environmental Protection Act, 1997.

AND WHEREAS, damaging or polluting physical environment, inside or outside, private or public premises, in a manner causing damage to the public health, safety, welfare, life and property is an offence under the relevant provisions of the Act ibid.

AND WHEREAS, EPA Lab, Sheikhupura conducted wastewater analysis of your unit namely M/S Siara Textile Mills (Pvt.) Limited, 2-Km, Warberton Road, Ferozewatwan, District Sheikhupura and the Site Monitoring Report Vide No. 695/DD/EPA/SKP, Dated: 23.05.2025 received from Deputy Director (Lab), EPA, Sheikhupura, confirmed that the wastewater discharge of your unit is beyond the permissible limits of Punjab Environmental Quality Standards (PEQS) which is violation of Section 11 of the Punjab Environmental Protection Act, 1997.

AND WHEREAS, the Site Inspection Report prepared by Deputy Director Sheikhupura vide No. 695/DD/EPA/SKP, dated: 23.05.2025 confirmed that there is no effluent treatment facility present on site and the wastewater of your unit is being disposed of into the Macharala drain without any treatment   thereby substantiated that the unit is violating Section 11 of the Act ibid, besides this it has also been reported that you have established and operating your unit in violation of Section 12 of the Act ibid.

AND WHEREAS, prima facie, it has been established through the said report and Site Monitoring Report that your unit is responsible for the following violations:

- The Analysis report of wastewater sample of the unit conducted by Deputy Director (Lab), EPA, Sheikhupura indicates that the parameters i.e. TSS, TDS & COD, exceeded the Punjab Environmental Quality Standards (PEQS) in violation of Section-11 of the Punjab Environmental Protection Act, 1997. The results are reproduced as under:

| Sr. No. | Parameters | PEQS Limits | Result | Remarks |
| --- | --- | --- | --- | --- |
|  | Chemical Oxygen Demand (COD) | 150mg/L | 266mg/L | Exceeds PEQs |
|  | Biochemical Oxygen Demand (BOD5) | 80 mg/L | 96mg/L | Exceeds PEQs |

- Your unit had also been constructed and operated in violation of Section 12 of the PEP Act, 1997.

AND WHEREAS, in light of the above referred violations, your unit was found violating Section 11 of the Punjab Environmental Protection Act, 1997 as well as the Punjab Environmental Quality Standards (PEQS), which is an offence punishable under the provisions of the Act ibid. Hence, Section-16 of the Act ibid was invoked, and opportunity of personal hearing was afforded to you on 04.06.2025 (1st hearing) vide No. F-02/10/AD//EPA/PN/KSR; dated 31.05.2025 and on 19.06.2025 (2nd hearing) vide No. 33/F-02/AD/EPA/PN/KSR; dated 14-06-2025.  Your authorized representative, Mr. Muhammad Yousaf, attended the hearing proceedings on the said dates and submitted reply stated that the septic pits were installed inside your factory premises. However, EPA Lab analysis seems non-compliance of PEQS.

NOW THEREFORE, the Director General, EPA Punjab, in exercise of powers conferred under Section 16 of the Punjab Environmental Protection Act, 1997 has decided to pass an Environmental Protection Order (EPO) directing you to comply with the following directions within 3 months & 10 days (100 days) of the issuance of this order:

- Install an efficient Effluent Treatment Plant (ETP) to effectively treat effluents of your unit in conformity with the Punjab Environmental Quality Standards (PEQS), prior to its final disposal.

- The following standardized timeline shall be followed for the installation of ETP:

| Sr. No. | Break-up of Task | Grace period-Timeframe (started from the date of issuance of EPO) |  |
| --- | --- | --- | --- |
|  | Submission of Planning and Feasibility study for installation of wastewater treatment plant (WWTP) | 30 days (1st month) | 100 Days (3 months & 10 days) |
|  | Submission of detailed WWTP design including technical requirements, layout, treatment processes, capacity and infrastructure. |  |  |
|  | Completion of Civil Works | 60 days (2nd & 3rd month) |  |
|  | Installation of Machinery |  |  |
|  | Trial Run / Operational Report of WWTP | 10 days |  |
|  | Complete operation of WWTP to ensure compliance with PEQS |  |  |

- Connect all the wastewater lines of your unit including sewage, with wastewater treatment facility for proper treatment in compliance with PEQs, before the final discharge.

- Stop discharge of untreated wastewater into the Macharala Drain.

- You have also violated the mandatory provision laid down under Section 12 of the Act, which necessitated to be adjudicated upon by the learned Punjab Environmental tribunal.

OTHERWISE

Stop the pollution generating activities of your unit.

In case of failure to comply with this Environmental Protection Order (EPO), the same shall be implemented under Section 6(1) (a) and (t) read with Section 16(2) of the Act ibid through coercive measures in the best interest of environment and public health, besides proceeded under Section 17 read with Section 21(3)(a) of the Punjab Environmental Protection Act 1997.

(Mrs. AMEN AZAM)

DEPUTY DIRECTOR (RC)

for DIRECTOR GENERAL

CC

- The Assistant Director (SUWW), Phool Nagar, is directed to deliver this EPO through special messenger to the addressee / respondent in person and furnish its Service Report within 05 days positively. Further, furnish the Compliance Status Report of EPO within a week upon expiry of stipulated mitigation period.

- The Deputy Director (Lab.), EPA, Sheikhupura with request to resample and submit Lab Analysis Report of the Subject unit upon expiry of mitigation period of EPO as an evident of Compliance Status Report of this EPO.

- PA to the DG, EPA, Punjab, Lahore.

| Environmental Protection Order (EPO) RECEIPT |  |
| --- | --- |
| NOTICE DELIVERED BY: (REPRESENTATIVE OF EPA) (Name, Designation, Phones Signature & Date) | NOTICE RECEIVED BY: (ADDRESSEE) (Name, Designation, NIC, Phones Signature & Date) |